## Sheet1
WKU Residential Buildings Fire Log 2022 | Total Fire Alarms in Building for calendar year 2022 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Bates Runner
Douglas Keen Hall | 1 | 1 | 2022-10-21 | 7:31 | student vaping in hallway activated Smoke det. | 0 | 0 | 0 | 20224503
Gilbert Hall
HIllTopper Hall | 1 | 1 | 6/31/2022 | 1:36 | Roof leak caused smoke det to activate. | 0 | 0 | 0 | 20223216
Hugh Poland Hall
1355 Kentucky St. Apts
1350 Kentucky St Apts Gateway
McCormack Hall
Meredith Hall
Minton Hall
Normal Hall | 1 | 1 | 2022-11-30 | 16:15 | student had candle burning caught a blanket fire and set a sprinkler head in the room | 0 | 0 | 0 | 20225093
Northeast Hall
Pearce Ford Tower
Phi Delta Theta Fraternity House
President's House
Regents Hall |  | 1 | 2022-04-02 | 22:31 | Unknown cause for alarm |  |  |  | 20221384
Rodes Harlin Hall |  | 1 | 2022-06-07 | 17:19 | FA caused by burnt food in kitchen. | 0 | 0 | 0 | 20222833
SAE Fraternity House
Southwest Hall
Zacharias Hall
Zero Number of Deaths Related To Fire includes deaths within one year of injuries sustained as a result of the Fire.
Total Fire alarms