## Sheet1
WKU Residential Buildings Fire Log 2015 | Total Fire Alarms in Building for calendar year 2015 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Barnes Campbell Hall 419 Regents avenue | 3 | 1 | 2015-01-24 | 22:21 | 4th floor kitchen alarm was set off due to burnt food. |  |  |  | 2015-0447
|  | 2 | 2015-11-22 | 0:02 | A student opened up a big bag of coffee creamer while standing under a smoke detector. |  |  |  | 2015-6888
|  | 3 | 2015-12-09 | 10:33 | BSA was cleaning up barbecue sauce that was thrown all over the kitchen walls; including the heat detector. Shas was attempting to clean the heat detector with a spray cleaner and the alarm was activated. |  |  |  | 2015-7186
Bates Runner 1520 Avenue of Champions | 1 | 1 | 2015-04-09 | 17:26 | Burnt food in the 2nd floor kitchen |  |  |  | 2015-2158
Bemis Lawrence Hall 429 Regents avenue | 8 | 1 | 2015-01-11 | 15:29 | 1st floor lobby alarm was set off due to it being too hot in the building setting off a heat detector. |  |  |  | 2015-0184
|  | 2 | 2015-01-30 | 23:30 | 7th floor alarm activated near the kitchen. Student discharged fire extinguisher in oven. |  |  |  | 2015-0564
|  | 3 | 2015-04-29 | 15:27 | Burnt food in the 2nd floor kitchen |  |  |  | 2015-2561
|  | 4 | 2015-09-02 | 12:50 | Burnt food in the 3rd floor kitchen |  |  |  | 2015-5214
|  | 5 | 2015-10-05 | 13:32 | Burnt food in 6th floor kitchen |  |  |  | 2015-5902
|  | 6 | 2015-10-08 | 13:33 | Burnt food in the 3rd floor kitchen |  |  |  | 2015-5965
|  | 7 | 2015-10-16 | 3:24 | Burnt food. |  |  |  | 2015-6136
|  | 8 |  |  | Alarm was caused someone had the kitchen oven set to broil which produced an extreme amount of heat. |  |  |  | 2015-5595
Douglas Keen Hall 1776 avenue of Champions | 8 | 1 | 2015-02-24 | 19:42 | Grease from stove caused the smoke alarm in the kitchen to engage |  |  |  | 2015-1128
|  | 2 | 2015-04-17 | 8:27 | Dirty smoke detector in mechanical room |  |  |  | 2015-2311
|  | 3 | 2015-04-18 | 8:50 | Moisture/Condensation build up in the detector |  |  |  | 2015-2336
|  | 4 | 2015-04-19 | 13:04 | Condensation in the detector |  |  |  | 2015-2357
|  | 5 | 2015-08-17 | 21:11 | Smoke detector was activated by hair spray or room freshner |  |  |  | 2015-4854
|  | 6 | 2015-09-13 | 14:02 | Burnt food in the kitchen |  |  |  | 2015-5596
|  | 7 | 2015-11-17 | 14:12 | Alarm was caused by burnt food in the kitchen. |  |  |  | 2015-6794
|  | 8 | 2015-11-11 | 15:49 | Alarm was caused by subject who carried burnt food past the smoke detector and set the alarm off. |  |  |  | 2015-6681
|  | 9 | 2015-09-13 | 14:02 PM | Alarm was caused by someone lighting a piece of paper on fire by 7th floor elevator causing smoke detector to activate. An arson investagion has been filed. |  |  |  | 2015-5447
Gilbert Hall 230 College Heights Blvd | 1 | 1 | 2015-07-14 | 1:32 | Heat detector activated due to condensation buildup |  |  |  | 2015-4136
Hugh Poland Hall 1756 Avenue of champions | 1 | 1 | 2015-02-15 | 23:42 | Burned food in the 4th floor kitchen activated the alarm |  |  |  | 2015-0839
1355 Kentucky St. Apts | 4 | 1 | 2015-01-24 | 0:03 | Alarm set off due to subject leaving pot on stove causing it to smoke from the teflon. |  |  |  | 2015-0048
|  | 2 | 2015-10-23 | 0:53 | Pull station on second floor near stairwell “C” was pulled |  |  |  | 2015-6301
|  | 3 | 2015-10-24 | 10:20 | Resident cooking bacon in oven. Smoke set off detector. |  |  |  | 2015-6326
|  | 4 | 2015-12-09 | 21:50 | Stove fire. Resident forgot to turn off stove after cooking. They smelled smoke and saw fire on stove and evacuated immediately. |  |  |  | 2015-7202
McCormack Hall 220 College Heights Blvd | 1 | 1 | 2015-12-08 | 23:32 | Dirty Smoke Detector |  |  |  | 2015-7179
McLean Hall 1514 Avenue of Champions
Meredith Hall 1775 Normal Street
Minton Hall 1595 Normal street
Northeast Hall North: 1579 Normal St. East: 1575 Normal St. | 1 | 1 | 2015-06-06 | 19:10 | Someone ran into pull station and broke it |  |  |  | 2015-3634
Pearce Ford Tower 1766 Avenue of Champions | 6 | 1 | 2015-02-17 | 6:24 | Smoke coming from electrical room on first floor |  |  |  | 2015-0718
|  | 2 | 2015-02-19 | 12:50 | Water pipes busted due to frozen pipes |  |  |  | 2015-0915
|  | 3 | 2015-04-09 | 17:15 | Subjects reported lighting box on fire in courtyard. |  |  |  | 2015-2136
|  | 4 | 2015-05-05 | 19:47 | Subject setting items on fire in courtyard in front of Popeye's |  |  |  | 2015-2679
|  | 5 | 2015-06-11 | 2:44 | Lit cigarette was thrown in dumpster, witnesses reported smoke coming from dumpster |  |  |  | 2015-04568
|  | 6 | 2015-11-16 | 5:58 | Alarm was caused by a boiling pot of food. |  |  |  | 2015-6760
Phi Delta Theta Fraternity House 330 College Alumni Avenue | 1 | 1 | 2015-08-21 | 1:14 | Unknown reason for alarm; BGFD advised |  |  |  | 2015-4929
Rodes Harlin Hall 1474 Kentuckt street | 3 | 1 | 2015-02-06 | 12:03 | Penthouse smoke detector shorted out in the mechanical room. |  |  |  | 2015-0680
|  | 2 | 2015-07-23 | 8:49 | Contractors removed a wall where a pull station was located |  |  |  | 15-05592
|  | 3 | 2015-09-21 | 20:03 | Tree branch in the middle of the valley was smoldering |  |  |  | 2015-5619
SAE Fraternity House 300 Alumni Avenue | 6 | 1 | 2015-02-09 | 13:31 | Subject was smoking electronic cigarette which set off smoke detector. |  |  |  | 2015-0726
|  | 2 | 2015-03-22 | 12:29 | Dust build up in detector |  |  |  | 2015-1987
|  | 3 | 2015-07-11 | 1:12 | Unknown reason for alarm |  |  |  | 2015-4065
|  | 4 | 2015-07-07 | 22:37 | Contractors working on drywall, dust entered unit and activated alarm |  |  |  | 2015-4650
|  | 5 | 2015-08-15 | 20:38 | Vapor pipe being used inside of a room |  |  |  | 2015-4810
|  | 6 | 2015-12-09 | 15:56 | Alarm was set off due to steam from a shower. |  |  |  | 2015-7194
1350 Kentucky St Apartments Gateway | 3 | 1 | 2015-02-22 | 3:29 | Busted waterflow pipe |  |  |  | 2015-1029
|  | 2 | 2015-02-24 | 13:51 | Maintenance found a broken sprinkler valve laying in the floor. Valve was replaced |  |  |  | 2015-1116
|  | 3 | 2015-12-07 | 18:49 | Alarm was caused by a pull station inside the rear entrance to the building. |  |  |  | 2015-7147
Southwest Hall South: 1591 Normal St. West: 1587 Normal St. | 1 | 1 | 2015-11-11 | 21:05 | Front Desk made a bag of popcorn and opened the door which caused the smell/heat to activate the smoke detector. |  |  |  | 2015-6683
Zacharias Hall 1755 Normal street | 1 | 1 | 2015-02-17 | 13:44 | Dust blew into duct detector and activated the alarm |  |  |  | 2015-0875
$100 Solution House 1534 Chestnut Street | 1 | 1 | 2015-07-25 | 19:57 | Hair dryer set off alarm |  |  |  | 2015-4375
Total | 50
*- Number of Deaths Related To Fire includes deaths within one year of injuries sustained as a result of the Fire.