## Sheet1
WKU Residential Buildings Fire Log 2018 | Total Fire Alarms in Building for calendar year 2018 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Barnes Campbell Hall
Bates Runner | 1 | 1 | 2018-02-06 | 02:28pm | a small child pulled the pull station |  |  |  | 2018-01125
Bemis Lawrence Hall | 4 | 1 | 2018-05-14 | 9:54 | drywall dust from contractors working got into the detector |  |  |  | 2018-2441
|  | 1 | 2018-10-06 | 19:00 | burnt food |  |  |  | 2018-5269
|  | 1 | 2018-10-16 | 21:04 | burnt food |  |  |  | 2018-5456
|  | 1 | 2018-11-11 | 18:03 | Burnt food on the 6th floor |  |  |  | 2018-5957
Douglas Keen Hall | 3 | 1 | 2018-08-31 | 11:55 | burnt food on the 3rd floor |  |  |  | 2018-4486
|  | 1 | 2018-09-22 | 22:57 | burnt popcorn |  |  |  | 2018-4962
|  | 1 | 2018-09-29 | 18:26 | mechanical issue |  |  |  | 2018-5124
Gilbert Hall | 1 | 1 | 2018-09-29 | 22:26 | small fire in light fixture in women's restroom |  |  |  | 2018-5125
Hill-topper Hall | 3 | 1 | 2018-07-12 | 22:21 | due to dust in the area from ongoing construction |  |  |  | 2018-3545
|  | 1 | 2018-10-16 | 12:15 | faulty detector |  |  |  | 2018-5446
|  | 1 | 2018-10-17 | 0:33 | faulty detector |  |  |  | 2018-5467
Hugh Poland Hall | 3 | 1 | 2018-02-22 | 4:38pm | extremely dirty smoke detector |  |  |  | 2018-1005
|  | 1 | 2018-04-02 | 09:43pm | Vapor pipe in elevator lobby |  |  |  | 2018-1722
|  | 1 | 2018-09-13 | 7:58 | dirty detector |  |  |  | 2018-4769
1355 Kentucky St. Apts
1350 Kentucky St Apts Gateway
McCormack Hall | 3 | 1 | 2018-09-08 | 0:26 | dirty detector |  |  |  | 2018-4661
|  | 1 | 2018-11-26 | 12:43 | Faulty/dirty detector |  |  |  | 2018-6208
|  | 1 | 2018-12-14 | 16:53 | Pull station on the 3rd floor |  |  |  | 2018-6505
Meredith Hall | 1 | 1 | 2018-01-03 | 01:10pm | busted water line on the first floor corridor/basement |  |  |  | 2018-0039
Minton Hall | 1 | 1 | 2018-06-25 | 17:08 | contractor vacuuming and kicking up dust |  |  |  | 201-3244
Northeast Hall
Pearce Ford Tower
Phi Delta Theta Fraternity House
Rodes Harlin Hall | 1 | 1 | 2018-09-29 | 22:26 | small fire in light fixture in women's restroom |  |  |  | 2018-5125
SAE Fraternity House | 6 | 1 | 2018-02-08 | 11:07pm | E-cigarette smoke set off the detector which set off the alarm |  |  |  | 2018-00711
|  | 1 | 2018-02-16 | 1:18am | E-cigarette smoke set off the detector which set off the alarm |  |  |  | 2018-0852
|  | 1 | 2018-03-03 | 11:05pm | subject was smoking on 2nd floor couch, couch csught fire |  |  |  | 2018-1222
|  | 1 | 2018-03-09 | 03:23am | mechanical malfunction |  |  |  | 2018-1289
|  | 1 | 2018-08-24 | 1:25 | dirty detector |  |  |  | 2018-4343
|  | 1 | 2018-10-07 | 23:44 | someoe was smoking or using an electronic smoking device |  |  |  | 2018-5282
|  | 1 | 2018-11-04 | 4:23 | Dirty/Faulty detector |  |  |  | 2018-5819
|  | 1 | 2018-11-28 | 9:50 | Dust in the detector |  |  |  | 2018-6242
Zacharias Hall
$100 Solution House | 2 | 1 | 2018-02-22 | 1:52am | steaming food |  |  |  | 2018-0983
|  | 1 | 2018-04-15 | 13:31 | Resident burning incense |  |  |  | 2018-1935
*- Number of Deaths Related To Fire includes deaths within one year of injuries sustained as a result of the Fire. | 0
Total Alarms | 29 |  |  |  |  | 0 | 0 | 0