## Sheet1
WKU Residential Buildings Fire Log 2019 | Total Fire Alarms in Building for calendar year 2019 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Barnes Campbell Hall | 2 | 1 | 2019-04-17 | 15:04 | mulch fire |  |  |  | 2019-1969
|  | 1 | 2019-12-13 | 21:46 | burned food |  |  |  | 2019-6366
Bates Runner
Bemis Lawrence Hall | 1 | 1 | 2019-02-01 | 1:33 | Pipe from an AC unit on the first floor |  |  |  | 2019-0553
Douglas Keen Hall | 5 | 1 | 2019-01-27 | 2:49 | Burnt Food |  |  |  | 2019-0474
|  | 1 | 2019-01-28 | 10:42 | burnt food |  |  |  | 2019-0485
|  | 1 | 2019-02-22 | 17:04 | burnt food |  |  |  | 2019-1005
|  | 1 | 2019-06-18 | 12:54 | Moisture inside detector |  |  |  | 2019-3087
|  | 1 | 2019-11-01 | 1:50PM | someone setting off a fire extinguisher |  |  |  | 2019-5573
Gilbert Hall | 2 | 1 | 2019-02-17 | 21:57 | burnt food on the 3rd floor |  |  |  | kupd
|  | 1 | 2019-04-01 | 18:33 | small fire on fourth floor |  |  |  | 2019-1675
HillTopper Hall | 2 | 1 | 2019-02-02 | 12:43 | Dirty detector |  |  |  | 2019-0592
|  | 1 | 2019-09-19 | 1:13 | Burnt Food |  |  |  | 2019-4723
|  | 1 | 2019-09-29 | 1:58 | Faulty Detector |  |  |  | 2019-4927
Hugh Poland Hall
1355 Kentucky St. Apts | 1 | 1 | 2019-08-11 | 2:20 | individual maliciously pulling pull station |  |  |  | 2019-4002
1350 Kentucky St Apts Gateway
McLean Hall | 1 | 1 | 2019-02-02 | 20:58 | burnt popcorn |  |  |  | 2019-0602
McCormack Hall | 1 | 1 | 2019-01-04 | 23:19 | Burned popcorn |  |  |  | 2019-0068
|  | 1 | 2019-04-30 | 23:28 | dirt detector |  |  |  | 2019-2208
Meredith Hall
Minton Hall
Northeast Hall | 1 | 1 | 2019-08-17 | 1:51 | high levels of Carbon monoxide and natural gas |  |  |  | 2019-4088
Pearce Ford Tower
Phi Delta Theta Fraternity House
President's House
Rodes Harlin Hall
SAE Fraternity House | 2 | 1 | 2019-01-27 | 0:38 | Dirty detector |  |  |  | 2019-0472
|  | 1 | 2019-02-01 | 19:55 | Dirty detector |  |  |  | 2019-0591
|  | 1 | 2019-03-17 | 23:31 | burnt popcorn |  |  |  | 2019-1401
Southwest Hall
Zacharias Hall
$100 Solution House | 1 | 1 | 2019-03-24 | 5:34 | Mechanical issue |  |  |  | 2019-1529
*- Number of Deaths Related To Fire includes deaths within one year of injuries sustained as a result of the Fire.
Total Number of Fire Alarms | 18